Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Rob Field, Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| Air Quality Research Laboratory. EN 6015 |
| SPACE DESCRIPTION (one sentence) |
| Air Quality Research Laboratory. EN 6015 |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Space used for the operation, development, assembly, testing, calibration and storage of instrumentation used to measure air quality. |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing (EN 6015, see attached drawing) Changes: We are requesting removal of the chalk board |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| 52 linear ft of bench (3’ depth) for instrument development, assembly, testing and calibration Storage for instrumentation, tubing, pumps, etc. Currently, 200 cubic feet of cabinet storage is available in this space and is adequate. Equipment list is attached below |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 1 engineer, 1 professor, 2 research scientists and 1 graduate student Comments: Visitors are common (2 visitors twice per week) |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Computer network Vacuum and air lines (central) 17”x14” Sink 9’ Fume hood with ventilated cabinet for 30 cubic feet of storage for chemicals |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Near to offices of Air Quality Research Scientists |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

EN6012 Equipment

| Instrument | Manufacturer | Model | AC |
| --- | --- | --- | --- |
| Hydrogen Generator | Parker Balston | H2PEM-165 | 110 |
| Gas Chromatograph | Perkin Elmer | Clarus 500 | 220 |
| TOC Gas Generator | Parker Balston | TOC-1250 | 110 |
| TOC Gas Generator | Parker Balston | TOC-1250 | 110 |
| Thermal Desorber | Perkin Elmer | TurboMatrix 300 | 220 |
| Data System | Perkin Elmer | TotalChrom | 110 |
| Mobile Methane Analyzer | Picarro | G2204 | 110 |
| Compressor | Werther Int'l | C10/24 | 110 |
| Oven | Entech | 31-350 | 220 |
| Zero Air Generator | Perkin Elmer | GC6000 | 110 |
| Rough Pump | Vacuubrand | MZ2NT | 110 |
| Molecular Drag Pump | Entech | 3100A | 110 |
| Pump | Charles Austen | Capex8 | 110 |