Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Perry Wechsler, Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| Engineering and Support Group (ESG) Suite. |
| SPACE DESCRIPTION (one sentence) |
| Engineering and Support Group Suite. Lab – EN6078, EN6074, EN6056, EN6056, EN6074A; Shop –EN6074B, EN6074C; Storage –EN6078C |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Space used for the development, assembly, testing, calibration and storage of scientific instruments operated by ATSC personnel. Instrumentation deployed on aircraft and at surface field sites is also evaluated. These activities has an engineer and/or a technician at a bench-top workstation. The bench-top surface area at each station is approximately 12 linear ft (3 ft depth) and is designed to accommodate a scientific instrument and various electronic test instruments. The suite’s total bench surface area and test equipment are summarized below. Also, technicians and engineers use machine tools to fabricate and repair the scientific instruments. The machine tools are described below. |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing, see attached drawing Lab – EN6074A, EN6078, EN6074, EN6056, EN6056A Shop –EN6074B, EN6074C Storage –EN6078C Equipment list is provided below Changes : The room 6056A was designed as a photographic dark room. We no longer use this space as a darkroom and are requesting that the wall between 6056A and 6056 be removed, to make more space in room 6056. |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| Laboratory with benches for instrument assembly and testing 56’ linear bench space - 6078 60’ linear bench space - 6074 50’ linear bench space - 6056 15’ linear bench space - 6074A 9’ linear bench space - 6074C 9’ linear bench space - 6078C Storage for electronics parts and other hardware-1100 cubic feet (mostly in 6078C) |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 4 technicians and 2 engineers Comments: Visitors are common (2 visitors twice per week) |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Water purification system (central water distiller) Computer network Vacuum and air lines (central) Sink – 17”x14” |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Adjacent to offices of technicians and engineers Shop – Adjacent to laboratory Storage Room – Adjacent to laboratory |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

EN 6056 and E6074 - Electronic Test Equipment (Wechsler)

Instrument			Manufacturer				Model

1 GHz Scope			Agilent					DS 07104A

150 MHz Scope		Tecktronix				TD3032B

Power Supply			HP					6294A

Power Supply			Power Designs Inc.			2015R

Spectrum Analyzer		Agilent					E4440A

2 GHz Signal Generator	Agilent					8648B

15 GHz Signal Generator	Agilent					MXG N5183A

Universal Counter		HP					5334B

Pulse Generator		HP					8011A

Power Meter			Agilent  				E4418B EPM

Digital Multimeter 		Fluke					867B

EN 6056 Scientific Instruments (Haimov)

Instrument			Manufacturer				Model

W-band Radar			Prosensing Inc.			Custom (Model 1995)

W-band Radar			Prosensing Inc.			Custom (Model 2008)

EN 6074A Scientific Instruments (Snider)

Instrument			Manufacturer				Model

Ozone				TEI					49

Nitrogen Oxide		TEI					42s

Sulfur Dioxide 		TEI					43bs

EN 6074C Machine Tools (Mahon)

Tool			Manufacturer				Model			AC

Band Saw		Rockwell				28-3033		220

Lathe			Atlas					3990			110

Belt Sander		Rockwell-Delta			52-612			110

Drill Press		Delta					CC2911		110

Grinder		Baldor					43913			110

Shear/Press/Break	Central Machining			T5907			NA