Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Yong Cai, Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| Keck Aerosol Research Laboratory. EN6008 |
| SPACE DESCRIPTION (one sentence) |
| Keck Aerosol Research Laboratory. EN6008 |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Space used for the development, assembly, testing, calibration and storage of instrumentation used to measure atmospheric aerosol |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing (EN 6008, see attached drawing) Changes: Staff and faculty using this space (Shane Murphy, Jeff Snider, Derek Montague and Terry Deshler) need access to air brought into the lab via an inlet. With permission from the Physical Plant, we designed and installed an inlet, but this removed at the end of the project it was designed for (MLACE). For scientific reasons, the fume hood make-up air suggested by Roger Baalman, is not acceptable for our particular application. ATSC is requesting assistance from the Physical Plant to get a permanent inlet installed for this laboratory. |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| 76 linear ft of bench (3’ depth) for instrument development, assembly, testing and calibration Storage for instrumentation, tubing, pumps, etc. Currently, 200 cubic feet of cabinet storage is available in this space and is adequate. Equipment list is attached below |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 1 engineer, 1 research scientist, 1 professor and 1 graduate student Comments: Visitors are common (2 visitors twice per week) |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Computer network Water purification system (local; see equipment list) Vacuum and air lines (central) Inlet for sampling outdoor aerosol (see written description on previous page) 17”x14” Sink 9’ Fume hood with ventilated cabinet for 30 cubic feet of storage for chemicals 2 Moveable (over counter) fume hoods |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Near to offices of Aerosol Research Scientist |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

Keck Aerosol Laboratory Equipment

Instrument		Manufacturer					Model			AC

Aerosol Mass Spec.	Aerodyne								110

UHSAS		Droplet Measurement Technologies		UHSAS		110

Nephelometer		TSI Inc					3563			110

Nepheolometer (2)	Radiance Research				M903			110

Athealometer		Magee Scientific				AE-16			110

Oven			Fisher Scientific				506G			110

Water Purifier		Millipore					SIMS60000		110

PCASP (2)		Droplet Measurement Technologies		PCASP-100X		110

Ultrafine CPC		TSI Inc					3025A			110

CCN (2)		UWYO-ATSC					104 and 108		110

DMA			TSI Inc					3071			110

DMA (2)		TSI Inc					3081			110

CPC (4)		TSI Inc					3010			110

VOAG			TSI Inc					3450			110

APS			TSI Inc					3321			110

Atomizer (2)		TSI Inc					3076			NA

Data System		UWYO-ATSC					NA			110