Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Zhien Wang, Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| LIDAR Research Laboratory. EN 6064 |
| SPACE DESCRIPTION (one sentence) |
| LIDAR Research Laboratory. EN 6064 |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Space used for the development, assembly, testing, calibration and storage of Light Detection and Ranging (LIDAR) instrumentation |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing (EN 6064, see attached drawing) Comments: Space is adequate for the future needs of the LIDAR group |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| 68 linear feet of bench-top space (3’ wide) for instrumentation testing and operation (via roof aperture). Storage for LIDAR instrumentation, spare parts, and electrical parts 150 cubic feet. Storage is in cabinetry provided with the 1980 addition to the Engineering building. |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 1 engineer, LIDAR Professor and 1 LIDAR Scientist Comments: 1 visiting research scientists uses this space as an office |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Computer network Aperture in ceiling for LIDAR sensing of atmosphere Sink – 17”x14” Air and vacuum (central) |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Near to offices of LIDAR Professor and LIDAR Scientist |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

EN 6064 Equipment -

This laboratory houses two home-built LIDARs.   Development is supported by grants from NSF and NASA and ongoing testing uses the aperture installed in the ceiling of EN6064.   The LIDARs are designed to operate on research aircraft can be deployed together or individually. Both operate at 355 nm wavelength.