Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| Microphysics Research Laboratory. EN6080 |
| SPACE DESCRIPTION (one sentence) |
| Microphysics Research Laboratory. EN6080 |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Laboratory space used for the development and operation of cloud physics instrumentation |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing (EN 6080, see attached drawing) Comments: This lab space has an environmental chamber designed to control temperature and humidity. We used the chamber in the 1980s but found the humidity control to be inadequate. Discussion with the manufacturer (Tenny) revealed that maintenance of the system had been discontinued. We are requesting that the environmental chamber (Room 6080) and the refrigeration system (Room 6080A) be removed. The increased space is needed for the freezing nucleus apparatus (equipment description is below). |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| 36 linear ft of bench (3’ depth) for instrument development, assembly, testing and calibration Storage for instrumentation, tubing, pumps, etc. Currently, 200 cubic feet of cabinet storage is available in this space and is adequate. |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 1 engineer, 2 research scientists and 1 graduate student Comments: Visitors are common (1 visitors twice per week) |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Computer network 17”x14” Sink Vacuum and air lines (central) |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Near to offices of Microphysics Professor |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

EN 6080 Equipment -

This laboratory houses a home-built freezing nucleus apparatus (FNA).   The FNA was developed with funding from an NSF Major Research Instrumentation grant (ATM-9871049; PI Gabor Vali).   The FNA processes water samples contained in an array of 16 sample vials.   The array is immersed in a bath of temperature-controlled coolant.   The vials made of transparent plastic hold 0.3 cm3 of sample and have leakproof and re-sealable closure.   Freezing is detected with a video detection system and the temperature of freezing is recorded with the vial identification number (1 to 16).   Typical precipitation and cloudwater samples freeze between -5 and -15 oC.