Facility Planning

# Initial Space Estimates (CEAS)

Version:  January 25, 2012

Maintenance:

References:

- Space Management Utilization Standards

- Definitions -- at back of this document, remove prior to printing

| Unit or Area: | Atmospheric Science | Contact Person: | Terry Deshler, Jeff Snider |
| --- | --- | --- | --- |
| SPACE NAME |
| Stratospheric Group Suite. Lab – EN6002, EN6039 and EN6039A; Shop – EN6002; Storage – EN6002 and EN6039. |
| SPACE DESCRIPTION (one sentence) |
| Stratospheric Group Suite. Lab – EN6002, EN6039 and EN6039A; Shop – EN6002; Storage – EN6002 and EN6039. |
| SPACE FUNCTION: Describe in detail the function of the space including the operations that will occur in the space. Include any special characteristics of the space such as natural light, acoustical separation, vibration control, humidity control, unusual power requirements, special finishes, etc. Space function or operation must support the mission and goals of the department, college and university. |
| Space used for the development, assembly, testing, calibration and storage of balloon-borne scientific instruments. This activity has an engineer and/or a technician at a bench-top workstation. The bench-top surface area at each station is approximately 12 linear ft (3 ft depth) and is designed to accommodate a scientific instrument and various electronic test instruments. The suite’s total bench surface area and test equipment are summarized below. Also, technicians and engineers use machine tools to fabricate and repair the scientific instruments. The machine tools are described below. |
| EXISTING OR NEW SPACE: Does this space exist presently? If so, then list room number(s). Otherwise, indicate new space. |
| Existing (room no.) or New: Existing, see attached drawing Lab – EN6002, EN6039 and EN6039A Shop – EN6002 Storage – EN6002 and EN6039 Equipment list is attached below Comments: Space is adequate for the future needs of the Stratospheric group |
| IDEAL SPACE |
| What space is needed and the justification: Detail the space required for the function or operations above. Utilize the Space Management Utilization Standards for space planning guidelines. Do not use existing space as the template for space needs (unless this space works well). Identify actual space required. Identify planning standard utilized if Space Management Utilization Standards are not utilized. |
| Laboratory with benches for instrument assembly and testing 100’ linear bench space - EN6002 25’ linear bench space - EN6039 16’ linear bench space - EN6039A Storage for electronics parts and other hardware-820 cubic feet (in EN6002) Most of the storage volume is in free-standing 4’x8’ cabinents |
| Number of Occupants utilizing the space on a continuing basis by indicating the number of permanent workstations and/or offices below. Also indicate the number of occupants utilizing the space on a temporary basis such as students during advising or consultation or numbers of persons in a meeting. |
| Permanent: Temporary: 1 technician, 1 engineer, 1 professor and 2 graduate students Comments: Visitors are common (2 visitors twice per week) |
| Furniture, Fixtures and Equipment: Provide brief description of the required furnishings, fixtures or equipment for each type of spaces such as office, workroom, classroom, conference room, etc. required to accommodate the function or operation above. |
| Sinks : 2 17”x14” EN6002 Sink 17”x14” EN6039 Computer network Air and vacuum (central) |
| SPACE PRIORITIES |
| If the ideal space is not available, what are the priorities for this unit? |
| High, medium, low: High Comments: |
| SPACE RELATIONSHIPS |
| Special access or location requirements: Deliveries that require ground floor access, or semi-trailer access, special foundations, etc. |
| Location adjacencies preferred: See Adjacency Format-use for defined unit grouping and separated unit group relationships in building. |
| Laboratory – Adjacent to offices of technicians and engineers Shop – Adjacent to laboratory Storage Room - Near to laboratory |
| Can unit be divided on separate floors or different areas of building? If so, describe the proper separations. |
| SKETCH OR GRAPHIC / Additional Information or requirements |

EN6002 Machine Tools

Item			Manufacturer			Model			AC

Drill Press		Rockwell/Delta			L5-655			110

Lathe			Enco					110-2031		110

Milling Machine	Central Machining			T-211919970		110

Band Saw		Central Machining			T-1874			110

Band Saw		Dupli-Carver				B-245			110

EN6002 Electronic Test Equipment

Item			Manufacturer			Model

Digital Multimeter 	Fluke					867B

Function Generator	Leader					LFG1310

Power Supply		Topward				33010D

Radio Receiver	ICOM					8400

Power Supply		Lamba					L69193

Oscilloscope		Leader					LBO526