Department of Atmospheric Science						Updated - January 25, 2012

Initial Space Estimates - http://www-das.uwyo.edu/~jsnider/CAES/

Aircraft Hangar Suite – Alfred Rodi/Jeff Snider – Existing Space with changes proposed

Research Flight Center.  Included in this space estimate is a remodeled office with space for nine staff and one visitor.

Change: 2500 ASF of new hangar space, for a second research aircraft, is proposed and 3500 ASF of new work space (office, laboratory, conference and storage) is also proposed.   Three UW staff will be moved to hangar from 6th floor Engineering, so that needs to be accounted for in the Engineering gap analysis.

KECK Aerosol Laboratory – Yong Cai/Jeff Snider – Existing Space with changes proposed

Keck Aerosol Research Laboratory. EN6008

Change: Staff and faculty using this space (Shane Murphy, Jeff Snider, Derek Montague and Terry Deshler) need access to air brought into the lab via an inlet.   With permission from the Physical Plant, we designed and installed an inlet, but this removed at the end of the project it was designed for (MLACE).  For scientific reasons, the fume hood make-up air suggested by Roger Baalman, is not acceptable for our particular application.  ATSC is requesting assistance from the Physical Plant to get a permanent inlet installed for this laboratory.

Microphysics Laboratory – Jeff Snider/Jeff Snider – Existing Space with changes proposed

Microphysics Research Laboratory. EN6080

Change: This lab space has an environmental chamber designed to control temperature and humidity.   We used the chamber in the 1980s but found the humidity control to be inadequate.   Discussion with the manufacturer (Tenny) revealed that maintenance of the system has been discontinued.   We are requesting that the environmental chamber and the refrigeration system be removed.   Space is needed in EN6080 for the freezing nucleus apparatus.

Engineering Support Group Suite – Perry Wechsler/Jeff Snider – Existing Space with changes proposed

Engineering and Support Group (ESG) Suite. Lab – EN6078, EN6074, EN6056, EN6056, EN6074A; Shop –EN6074B, EN6074C; Storage –EN6078C

Change: The room 6056A was designed as a photographic dark room.   We no longer use this space as a darkroom and are requesting that the wall between 6056A and 6056 be removed, to make more space in room 6056.

Library – Alfred Rodi/Jeff Snider – Existing Space with changes proposed

Library. EN 6031.

Change: This space is commonly (twice per week) equipped with a portable two-way video system and a portable projector system for conferencing.   We are requesting a dedicated video system and built-in projector system for this space.

Briefing Room – Al Rodi/Jeff Snider – Existing Space with changes proposed

Briefing room. EN 6052

Change: This space is commonly (once per week) equipped with a portable two-way video system and a portable projector system for conferencing.  We are requesting a dedicated video system and built-in projector system for this space.

Laboratory for Future Addition to ATSC Faculty – Alfred Rodi/Jeff Snider - New Space

New laboratory space for a future member of the Department of Atmospheric Science faculty.

WEC Suite – Alfred Rodi/Jeff Snider – New Space

New space for a Wyoming Excellence Chair

Physical Meteorology Teaching Laboratory – Jeff Snider– Existing Space with changes proposed

Graduate-level and undergraduate-level teaching laboratory. EN 6070

Change: A new deep freeze is requested for ATSC5020 laboratories (see attached equipment list); the model currently used in 30 years old.

LIDAR Laboratory – Zhien Wang/Jeff Snider – Existing Space

LIDAR Research Laboratory. EN 6064

Student Computer Laboratory – Larry Oolman/Jeff Snider – Existing Space

Student Computer Laboratory. EN6028

Research Computer Laboratory – Jim Waldram/Jeff Snider – Existing Space

Research Computer Laboratory. EN 6021 and EN 6021A

Stratospheric Group Suite – Terry Deshler/Jeff Snider – Existing Space

Stratospheric Group Suite. Lab – EN6002, EN6039 and EN6039A; Shop – EN6002; Storage – EN6002 and EN6039.

Aerosol Optics Laboratory – Shane Murphy/Jeff Snider – Existing Space

Aerosol Optics Research Laboratory. EN6036

Air Quality Laboratory – Rob Field/Jeff Snider – Existing Space

Air Quality Research Laboratory. EN 6015

Environmental Chamber – Terry Deshler/Jeff Snider – Existing Space

Environmental Chamber. EN 6012